LED Integrated Testing System test report

| test item: | LED spectrum analyse |  |  |
| --- | --- | --- | --- |
| equipment: | Led test system |  |  |
| 设备厂商获得证书： | 国家半导体工程研发及产业联盟证书，中国光学光电子行业协会光电器件分会证书，高新技术企业证书 |  |  |
|  | Mode:MB 016 NRA 20061016 6000K | Manufacturer: |  |
| Test Identifier | Temperature:25℃ | Humidity:60% |  |
|  | Conner: | Date:2017.01 |  |
|  | Organ: |  |  |

curve of spectrum power distributing

| Spectrum |  |  | Electrical |  |  |
| --- | --- | --- | --- | --- | --- |
| λ(Peak): | 450.7 | nm | I(test): | 145.000 mA |  |
| λ(Main): | 485.2 | nm | Vf: | 220.300 V |  |
| λ(Centroid): | 0.0 nm |  | φv: | 1232.58 lm |  |
| λ(Center): | 0.0 nm |  | Efficiency: | 74.702 lm/w |  |
| BandWidth: | 24.7 | nm | P: | 16.5 W |  |
| ColorTemp: | 6214 | K | PFC: | 0.516 |  |
| CIE(x,y): | 0.3070, 0.3204 |  | Ra1:84.1 | Ra2:89.1 | Ra3:91.7 |
| CIE(u,v): | 0.1971, 0.3085 |  | Ra4:86.0 | Ra5:84.8 | Ra6:83.6 |
| Ra: | 84.9 |  | Ra7:87.3 | Ra8:72.6 | Ra9:18.5 |
| Purity: | 0.099 |  | Ra10:73.1 | Ra11:86.7 | Ra12:59.4 |
| Light Power: | 2701.0037 mw |  | Ra13:85.2 | Ra14:95.6 | Ra15:79.7 |

Remark:

page 1 of 1	2016-11-10	15:58:37